## Submission Data
Energy Consumption and Greenhouse Gas Emissions Reporting - for 2016
Confirm consecutive 12-mth period (mth-yr to mth-yr) | Jan/2016 - Dec/2016
Sector | Municipality
Agency Sub-sector | Municipal
Organization Name | Municipality of Highlands East
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (ML) | Electricity Quantity | Electricity Unit | Natural Gas Quantity | Natural Gas Unit | Fuel Oil 1 & 2 Quantity | Fuel Oil 1 & 2 Unit | Fuel Oil 4 & 6 Quantity | Fuel Oil 4 & 6 Unit | Propane Quantity | Propane Unit | Coal Quantity | Coal Unit | Wood Quantity | Wood Unit | District Heating Quantity | District Heating Unit | Renewable? | If Yes, enter Emission Factor | District Cooling Quantity | District Cooling Unit | Renewable? | If Yes, enter Emission Factor | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Energy Intensity (ekWh/Mega Litre) | Building / Operation Identifier | Comments
Stephenson Building | Administrative offices and related facilities, including municipal council chambers | 2160 Yonge Street | Toronto | M7A 2G5 | 135034 | Square feet | 70 | 23516.0022 | 2181065 | kWh | 125300 | Cubic meter |  | Litre |  | Litre |  | Litre |  | Metric Tonne |  | Metric Tonne | 26.73 | Giga Joule | No | 0 | 20.506 | Giga Joule | No | 0 |  |  |  |  | max. 255 characters
Bicroft Heights Septic System | Other | 10 Concession Lot 27 | Cardiff | K0L 1M0 | 100 | Square feet | 168 | 0 | 205.1388 | kWh | [20 empty] | 7.2923 | 2.0514 | 0 |  | Septic system for small housing development (<20 houses) SE of Cardiff, ON. Annual flows for septic system not available.
Cardiff Community Centre | Community centres | 2747 Monck Road | Cardiff | K0L 1M0 | 2440 | Square feet | 6 | 0 | 12184.493 | kWh |  |  | 2784.2143 | Litre |  |  | 359.833 | Litre | [12 empty] | 8602.8916 | 18.3287 | 0 |  | Shared building with Cardiff Fire Hall
Cardiff Fire Hall | Fire stations and associated offices and facilities | 2747 Monck Road | Cardiff | K0L 1M0 | 1200 | Square feet | 2 | 0 | 5992.3736 | kWh |  |  | 1369.2857 | Litre |  |  | 176.967 | Litre | [12 empty] | 4230.9303 | 18.3287 | 0 |  | Shared building with Cardiff Community Centre
Cardiff Library | Public libraries | 2778 Monck Road | Cardiff | K0L 1M0 | 1250 | Square feet | 12 | 0 | 12474.737 | kWh | [20 empty] | 443.452 | 9.9798 | 0 |  | Shared Building with Cardiff Municipal Office
Cardiff Little Sub Station | Storage facilities where equipment or vehicles are maintained, repaired or stored | 16 Sprucedale Street | Cardiff | K0L 1M0 | 384 | Square feet | 0.5 | 0 | 7986.1388 | kWh | [20 empty] | 283.8913 | 20.7972 | 0 |  | Also known as Cardiff Rescue Garage
Cardiff Municipal Garage | Storage facilities where equipment or vehicles are maintained, repaired or stored | 2756 Monck Road | Cardiff | K0L 1M0 | 2400 | Square feet | 50 | 0 | 9212.2018 | kWh |  |  | 639.8 | Litre | [16 empty] | 2077.4282 | 6.7116 | 0 |  | Also known as Cardiff Works Garage
Cardiff Municipal Office | Administrative offices and related facilities, including municipal council chambers | 2778 Monck Road | Cardiff | K0L 1M0 | 1250 | Square feet | 35 | 0 | 12474.737 | kWh | [20 empty] | 443.452 | 9.9798 | 0 |  | Shared Building with Cardiff Library
Cardiff Sewage Plant | Facilities related to the pumping of sewage | 2806 Monck Road | Cardiff | K0L 1M0 | 100 | Square feet | 168 | 495.744 | 66867.0033 | kWh | [20 empty] | 2376.9882 | 668.67 | 134.8821 |  | Includes electricity values for Cardiff Sewage Plant and Bicroft Lagoon Building
Cardiff Water Treatment Facility | Facilities related to the treatment of water | 2756B Monck Road | Cardiff | K0L 1M0 | 0 | Square feet | 168 | 51.561 | 152480.4286 | kWh | [20 empty] | 5420.3743 | 0 | 2957.2845 |  | Includes electricity values for Cardiff WTP & Bicroft Pump Station
Dyno Water Treatment Facility | Facilities related to the treatment of water | 1018 Estates Road | Dyno | K0L 1M0 | 0 | Square feet | 168 | 2.8409 | 11204.6124 | kWh | [6 empty] | 359.1 | Litre | [12 empty] | 951.6689 | 0 | 4832.6386 |  | Also known as Dyno Pumphouse
Gooderham Building Department | Administrative offices and related facilities, including municipal council chambers | 1032 Gooderham Street | Gooderham | K0M 1R0 | 1472 | Square feet | 40 | 0 | 13498.6613 | kWh | [6 empty] | 2113.831 | Litre | [12 empty] | 3737.2301 | 19.2663 | 0 |  | Shared building with Gooderham Library. Electricity & propane shared.
Gooderham Fire Hall | Fire stations and associated offices and facilities | 1043 Community Centre Road | Gooderham | K0M 1R0 | 2808 | Square feet | 2 | 0 | 8641.4446 | kWh |  |  | 4687.9 | Litre | [16 empty] | 13129.3239 | 21.0707 | 0
Gooderham Library | Public libraries | 1032 Gooderham Street | Gooderham | K0M 1R0 | 793 | Square feet | 10 | 0 | 7272.0369 | kWh | [6 empty] | 1138.769 | Litre | [12 empty] | 2013.3312 | 19.2663 | 0 |  | Shared building with Gooderham Building Department. Electricity & propane shared.
Gooderham Roads Garage | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1070 McColls Rd | Gooderham | K0M 1R0 | 3705 | Square feet | 40 | 0 | 2708.4654 | kWh | [20 empty] | 96.2805 | 0.73103 | 0
Highland Grove Community Centre | Community centres | 5373 Loop Road | Highland Grove | K0L 2A0 | 1152 | Square feet | 6 | 0 | 10617.8724 | kWh |  |  | 1643.34 | Litre | [16 empty] | 4872.2354 | 24.5915 | 0 |  | Shared building with Highland Grove Library. Electricity & furnace oil shared.
Highland Grove Fire Hall | Fire stations and associated offices and facilities | 1014 Meteorite Lake Road | Highland Grove | K0L 2A0 | 2164 | Square feet | 2 | 0 | 6020.0307 | kWh |  |  | 1857.8732 | Litre | [16 empty] | 5295.573 | 12.035 | 0 |  | Shared building with Highland Grove Garage. Electricity & furnace oil shared.
Highland Grove Garage | Storage facilities where equipment or vehicles are maintained, repaired or stored | 1014 Meteorite Lake Road | Highland Grove | K0L 2A0 | 4560 | Square feet | 1 | 0 | 12685.4622 | kWh |  |  | 3914.9268 | Litre | [16 empty] | 11158.8784 | 12.035 | 0 |  | Shared Building with Highland Grove Fire Hall. Electricity & furnace oil shared.
Highland Grove Library | Public libraries | 5373 Loop Road | Highland Grove | K0L 2A0 | 768 | Square feet | 6 | 0 | 7078.5816 | kWh |  |  | 1095.56 | Litre | [16 empty] | 3248.1569 | 24.5915 | 0 |  | Shared building with Highland Grove Community Centre. Electricity & furnace oil shared.
Highlands East Municipal Office | Administrative offices and related facilities, including municipal council chambers | 2249 Loop Road | Wilberforce | K0L 3C0 | 3400 | Square feet | 40 | 0 | 28478.6879 | kWh |  |  | 1919.8383 | Litre | [16 empty] | 6263.4177 | 14.4618 | 0 |  | Shared building with LWMC. Electricity & furnace oil shared.
Highway 28 Fire Hall | Fire stations and associated offices and facilities | 26538 Hwy 28 | Bancroft | K0L 1C0 | 2164 | Square feet | 2 | 0 | 13607.9898 | kWh | [6 empty] | 2082.6 | Litre | [12 empty] | 3692.9901 | 13.0544 | 0
Keith Tallman Arena | Indoor sports arenas | 2256 Loop Road | Wilberforce | K0L 3C0 | 23900 | Square feet | 44 | 0 | 184592.185 | kWh |  |  | 13567.2 | Litre |  |  | 3150.6 | Litre | [12 empty] | 48525.3157 | 14.7685 | 0
Lloyd Watson Community Centre | Community centres | 2249 Loop Road | Wilberforce | K0L 3C0 | 8600 | Square feet | 6 | 0 | 72034.3283 | kWh |  |  | 4856.0617 | Litre | [16 empty] | 15842.7625 | 14.4618 | 0 |  | Shared building with Highlands East Municipal Office. Electricity & furnace oil shared.
Red Cross Outpost | Cultural facilities | 2314 Loop Road | Wilberforce | K0L 3C0 | 1576 | Square feet | 2 | 0 | 2405.8684 | kWh |  |  | 3097.2 | Litre | [16 empty] | 8556.849 | 22.7074 | 0
Robert McCausland M Community Centre | Community centres | 1067 Community Centre Road | Gooderham | K0M 1R0 | 4060 | Square feet | 6 | 0 | 17700 | kWh | [6 empty] | 8417 | Litre | [12 empty] | 13599.6619 | 18.935 | 0 |  | Also known as Gooderham Community Centre
Wilberforce Curling Rink | Indoor recreational facilities | 2733 Essonville Line | Wilberforce | K0L 3C0 | 6400 | Square feet | 3 | 0 | 51959.4384 | kWh | [20 empty] | 1847.0541 | 8.1187 | 0
Wilberforce Fire Hall | Fire stations and associated offices and facilities | 2259 Loop Road | Wilberforce | K0L 3C0 | 3584 | Square feet | 45 | 0 | 12068.1632 | kWh |  |  | 4386.6 | Litre | [16 empty] | 12427.0344 | 16.5586 | 0
Wilberforce Garage - MTO | Storage facilities where equipment or vehicles are maintained, repaired or stored | 19897 Highway 118 | Wilberforce | K0L 3C0 | 5600 | Square feet | 40 | 0 | 87795.766 | kWh | [20 empty] | 3120.9639 | 15.6778 | 0
Wilberforce Garage - Municipality | Storage facilities where equipment or vehicles are maintained, repaired or stored | 19951 Highway 118 | Wilberforce | K0L 3C0 | 4966 | Square feet | 50 | 0 | 47373.9478 | kWh | [6 empty] | 13493.4 | Litre | [12 empty] | 22477.1626 | 28.6428 | 0
Wilberforce Library - New | Public libraries | 1101 Holmes Rd | Wilberforce | K0L 3C0 | 2400 | Square feet | 20 | 0 | 16927.163 | kWh | [20 empty] | 601.7268 | 7.053 | 0
Wilberforce Library - Old | Public libraries | 2307 Loop Road | Wilberforce | K0L 3C0 | 1167 | Square feet | 20 | 0 | 9928.6542 | kWh | [20 empty] | 352.9438 | 8.5078 | 0
Wilberforce Water Plant | Facilities related to the treatment of water | 2249 Loop Road | Wilberforce | K0L 3C0 | 100 | Square feet | 168 | 5.457 | 8558.0842 | kWh | [20 empty] | 304.2228 | 85.5808 | 1568.2764

## _lookup_ (hidden)
OperationType | FloorArea | Electricity | NaturalGas | FuelOil12 | FuelOil46 | Propane | Coal | Wood | DistrictHeating | DistrictCooling | Renewable
Administrative offices and related facilities, including municipal council chambers | Square feet | kWh | Cubic Meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | Metric Tonne | Giga Joule | Yes
Public libraries | Square meters |  | Giga Joule | [5 empty] | Giga Joule | KL Chilled Water | No
Cultural facilities |  |  | ekWh | [5 empty] | KL Hot Water
Indoor recreational facilities
Community centres
Art galleries
Performing arts facilities
Auditoriums
Indoor sports arenas
Indoor ice rinks
Indoor swimming pools
Gyms and indoor courts for playing tennis, basketball or other sports
Ambulance stations and associated offices and facilities
Fire stations and associated offices and facilities
Police stations and associated offices and facilities
Storage facilities where equipment or vehicles are maintained, repaired or stored
Parking garages
Facilities related to the treatment of water
Facilities related to the treatment of sewage
Facilities related to the pumping of water
Facilities related to the pumping of sewage
Street lighting
Social housing
Long-term care
Other